CXN50 Datalogger	2015-09-21

Datalogger always MSB first
Sequence : !

Address in EEprom	Description

128 –143	SOS Values(16 Bytes)
144 –162	Day1(19 Bytes)
714 –732	Day 31
733 –751	Month 1
944 –962	Month 12
1170-1188	Month 24

Adr	identification	description	unit
0-1	SOS Values	Number of days with LVD
2		Number of months without full charge
3		reserved
4-5		Sum of morning socs
6-7 / 8-9		AH charge
10-11 / 12-13		Ah load
14-15		Number of days

16,17	Date_month_year	B0-6 = year(0-99) b7-b10 = month b11-b15 = day
18	Inverter	Ex: 24 for a 700W inverter => 24*70 =1680Wh	x * 10%h
19	Day1 Umax	Battery Voltage	100mV
20	Day1 Umin	Battery Voltage	100mV
21-22	Day1 AHin		0.1 AH
23-24	Day1 AHout		0.1 AH
25	Day1 Umaxmodul	Maximal panel voltage	0,5 V
26	Day1 Uminmodul	Minimal panel voltage	0,5 V
27	Day1 Imaxload	Maximal Load current	0,5 A
28	Day1 Imaxcharge	Maximal charge current	0,5 A
29	Day1 SOC	SOC(Morning)	6,60%
30	Day1 Tempextmax	signed	Degrees Celsius
31	Day1 Tempextmin	signed	Degrees Celsius
32	Day1:Nightlength		6 minutes
33-34	Tag1 State	Load disconnected 1 / Fullcharged 2 / Module overcurrent 4 / Load overcurrent 8 / Over voltage 16 / Loadoff soc 32 / Over temperature Module 64 / Over Temperature Load 128 / Over temperature Module reduced 256 / No Load 512 / 24 V system 1024 / 48 V system 2048 / Inverter load off soc 4096
35- 604	Tag 2 - 31	Each day 19 Bytes
605-1060	Monat 1- 24	Each Month 19 Bytes Ahout und Ahin in AH / Nightlength = average of nightlengths