## Sheet1
Data Bytes Received from EEPROM (MSB always first)
Array Address Starting at 0
0
1
0 | 128 | Number of LVD Days | The number of days which contain an occurrence of "Low Voltage Disconnect" meaning that the load was disconnected in order to protect the battery.
1 | 129
2 | 130 | Months without full charge | The number of months that the battery has not been fully charged.
3 | 131 | reserved | Nothing is currently stored here.
4 | 132 | Sum of Morning SOCs | Total sum of SOC percentages measured one minute after dawn. Divide by number of days to get the average morning SOC.
5 | 133
6 | 134 | AH Charge | Cumulative Charging amp hours.
7 | 135
8 | 136
9 | 137
10 | 138 | AH Load | Cumulative amp hours consumed by the load.
11 | 139
12 | 140
13 | 141
14 | 142 | Number of Days | The total number of days that the CXNsolid has been running.
15 | 143
16 | 144
17 | 145 | Date in bits | Year: bit 0bit 6, Month: bit 7-bit 10, Day: bit 11-bit 15 Example: 0xBD0F = 2015-10-23
18 | 146
19 | 147 | Inverter Factor | Total Watt Hours = (Inverter Factor*0.1)*(Inverter Power Rating)
20 | 148 | Day 1 Max Battery Voltage
21 | 149 | Day 1 Min Battery Voltage
22 | 150 | Day 1 Ah In
23 | 151
24 | 152 | Day 1 Ah Out
25 | 153
26 | 154 | Day 1 Max PV Voltage
27 | 155 | Day 1 Min PV Voltage
28 | 156 | Day 1 Max Load Current
29 | 157 | Day 1 Max Charge Current
30 | 158 | Day 1 SOC | SOC measure 1 minute after dawn.
31 | 159 | Day 1 Max External Temperature
32 | 160 | Day 1 Min External Temperature
33 | 161
34 | 162
35 | 163
36 | 164
37 | 165
38 | 166
39 | 167
40 | 168
41 | 169
42 | 170
43 | 171
44 | 172
45 | 173
46 | 174
47 | 175
48 | 176
49 | 177
50 | 178
51 | 179
52 | 180
53 | 181
54 | 182
55 | 183
56 | 184
57 | 185
58 | 186
59 | 187
60 | 188
61 | 189
62 | 190
63 | 191
64 | 192
65 | 193
66 | 194
67 | 195
68 | 196
69 | 197
70 | 198
71 | 199
72 | 200
73 | 201
74 | 202
75 | 203
76 | 204
77 | 205
78 | 206
79 | 207
80 | 208
81 | 209
82 | 210
83 | 211
84 | 212
85 | 213
86 | 214
87 | 215
88 | 216
89 | 217
90 | 218
91 | 219
92 | 220
93 | 221
94 | 222
95 | 223
96 | 224
97 | 225
98 | 226
99 | 227
100 | 228
101 | 229
102 | 230
103 | 231
104 | 232
105 | 233
106 | 234
107 | 235
108 | 236
109 | 237
110 | 238
111 | 239
112 | 240
113 | 241
114 | 242
115 | 243
116 | 244
117 | 245
118 | 246
119 | 247
120 | 248
121 | 249
122 | 250
123 | 251
124 | 252
125 | 253
126 | 254
127 | 255
128 | 256
129 | 257
130 | 258
131 | 259
132 | 260
133 | 261
134 | 262
135 | 263
136 | 264
137 | 265
138 | 266
139 | 267
140 | 268
141 | 269
142 | 270
143 | 271
144 | 272
145 | 273
146 | 274
147 | 275
148 | 276
149 | 277
150 | 278
151 | 279
152 | 280
153 | 281
154 | 282
155 | 283
156 | 284
157 | 285
158 | 286
159 | 287
160 | 288
161 | 289
162 | 290
163 | 291
164 | 292
165 | 293
166 | 294
167 | 295
168 | 296
169 | 297
170 | 298
171 | 299
172 | 300
173 | 301
174 | 302
175 | 303
176 | 304
177 | 305
178 | 306
179 | 307
180 | 308
181 | 309
182 | 310
183 | 311
184 | 312
185 | 313
186 | 314
187 | 315
188 | 316
189 | 317
190 | 318
191 | 319
192 | 320
193 | 321
194 | 322
195 | 323
196 | 324
197 | 325
198 | 326
199 | 327
200 | 328
201 | 329
202 | 330
203 | 331
204 | 332
205 | 333
206 | 334
207 | 335
208 | 336
209 | 337
210 | 338
211 | 339
212 | 340
213 | 341
214 | 342
215 | 343
216 | 344
217 | 345
218 | 346
219 | 347
220 | 348
221 | 349
222 | 350
223 | 351
224 | 352
225 | 353
226 | 354
227 | 355
228 | 356
229 | 357
230 | 358
231 | 359
232 | 360
233 | 361
234 | 362
235 | 363
236 | 364
237 | 365
238 | 366
239 | 367
240 | 368
241 | 369
242 | 370
243 | 371
244 | 372
245 | 373
246 | 374
247 | 375
248 | 376
249 | 377
250 | 378
251 | 379
252 | 380
253 | 381
254 | 382
255 | 383
256 | 384
257 | 385
258 | 386
259 | 387
260 | 388
261 | 389
262 | 390
263 | 391
264 | 392
265 | 393
266 | 394
267 | 395
268 | 396
269 | 397
270 | 398
271 | 399
272 | 400
273 | 401
274 | 402
275 | 403
276 | 404
277 | 405
278 | 406
279 | 407
280 | 408
281 | 409
282 | 410
283 | 411
284 | 412
285 | 413
286 | 414
287 | 415
288 | 416
289 | 417
290 | 418
291 | 419
292 | 420
293 | 421
294 | 422
295 | 423
296 | 424
297 | 425
298 | 426
299 | 427
300 | 428
301 | 429
302 | 430
303 | 431
304 | 432
305 | 433
306 | 434
307 | 435
308 | 436
309 | 437
310 | 438
311 | 439
312 | 440
313 | 441
314 | 442
315 | 443
316 | 444
317 | 445
318 | 446
319 | 447
320 | 448
321 | 449
322 | 450
323 | 451
324 | 452
325 | 453
326 | 454
327 | 455
328 | 456
329 | 457
330 | 458
331 | 459
332 | 460
333 | 461
334 | 462
335 | 463
336 | 464
337 | 465
338 | 466
339 | 467
340 | 468
341 | 469
342 | 470
343 | 471
344 | 472
345 | 473
346 | 474
347 | 475
348 | 476
349 | 477
350 | 478
351 | 479
352 | 480
353 | 481
354 | 482
355 | 483
356 | 484
357 | 485
358 | 486
359 | 487
360 | 488
361 | 489
362 | 490
363 | 491
364 | 492
365 | 493
366 | 494
367 | 495
368 | 496
369 | 497
370 | 498
371 | 499
372 | 500
373 | 501
374 | 502
375 | 503
376 | 504
377 | 505
378 | 506
379 | 507
380 | 508
381 | 509
382 | 510
383 | 511
384 | 512
385 | 513
386 | 514
387 | 515
388 | 516
389 | 517
390 | 518
391 | 519
392 | 520
393 | 521
394 | 522
395 | 523
396 | 524
397 | 525
398 | 526
399 | 527
400 | 528
401 | 529
402 | 530
403 | 531
404 | 532
405 | 533
406 | 534
407 | 535
408 | 536
409 | 537
410 | 538
411 | 539
412 | 540
413 | 541
414 | 542
415 | 543
416 | 544
417 | 545
418 | 546
419 | 547
420 | 548
421 | 549
422 | 550
423 | 551
424 | 552
425 | 553
426 | 554
427 | 555
428 | 556
429 | 557
430 | 558
431 | 559
432 | 560
433 | 561
434 | 562
435 | 563
436 | 564
437 | 565
438 | 566
439 | 567
440 | 568
441 | 569
442 | 570
443 | 571
444 | 572
445 | 573
446 | 574
447 | 575
448 | 576
449 | 577
450 | 578
451 | 579
452 | 580
453 | 581
454 | 582
455 | 583
456 | 584
457 | 585
458 | 586
459 | 587
460 | 588
461 | 589
462 | 590
463 | 591
464 | 592
465 | 593
466 | 594
467 | 595
468 | 596
469 | 597
470 | 598
471 | 599
472 | 600
473 | 601
474 | 602
475 | 603
476 | 604
477 | 605
478 | 606
479 | 607
480 | 608
481 | 609
482 | 610
483 | 611
484 | 612
485 | 613
486 | 614
487 | 615
488 | 616
489 | 617
490 | 618
491 | 619
492 | 620
493 | 621
494 | 622
495 | 623
496 | 624
497 | 625
498 | 626
499 | 627
500 | 628
501 | 629
502 | 630
503 | 631
504 | 632
505 | 633
506 | 634
507 | 635
508 | 636
509 | 637
510 | 638
511 | 639
512 | 640
513 | 641
514 | 642
515 | 643
516 | 644
517 | 645
518 | 646
519 | 647
520 | 648
521 | 649
522 | 650
523 | 651
524 | 652
525 | 653
526 | 654
527 | 655
528 | 656
529 | 657
530 | 658
531 | 659
532 | 660
533 | 661
534 | 662
535 | 663
536 | 664
537 | 665
538 | 666
539 | 667
540 | 668
541 | 669
542 | 670
543 | 671
544 | 672
545 | 673
546 | 674
547 | 675
548 | 676
549 | 677
550 | 678
551 | 679
552 | 680
553 | 681
554 | 682
555 | 683
556 | 684
557 | 685
558 | 686
559 | 687
560 | 688
561 | 689
562 | 690
563 | 691
564 | 692
565 | 693
566 | 694
567 | 695
568 | 696
569 | 697
570 | 698
571 | 699
572 | 700
573 | 701
574 | 702
575 | 703
576 | 704
577 | 705
578 | 706
579 | 707
580 | 708
581 | 709
582 | 710
583 | 711
584 | 712
585 | 713
586 | 714
587 | 715
588 | 716
589 | 717
590 | 718
591 | 719
592 | 720
593 | 721
594 | 722
595 | 723
596 | 724
597 | 725
598 | 726
599 | 727
600 | 728
601 | 729
602 | 730
603 | 731
604 | 732
605 | 733
606 | 734
607 | 735
608 | 736
609 | 737
610 | 738
611 | 739
612 | 740
613 | 741
614 | 742
615 | 743
616 | 744
617 | 745
618 | 746
619 | 747
620 | 748
621 | 749
622 | 750
623 | 751
624 | 752
625 | 753
626 | 754
627 | 755
628 | 756
629 | 757
630 | 758
631 | 759
632 | 760
633 | 761
634 | 762
635 | 763
636 | 764
637 | 765
638 | 766
639 | 767
640 | 768
641 | 769
642 | 770
643 | 771
644 | 772
645 | 773
646 | 774
647 | 775
648 | 776
649 | 777
650 | 778
651 | 779
652 | 780
653 | 781
654 | 782
655 | 783
656 | 784
657 | 785
658 | 786
659 | 787
660 | 788
661 | 789
662 | 790
663 | 791
664 | 792
665 | 793
666 | 794
667 | 795
668 | 796
669 | 797
670 | 798
671 | 799
672 | 800
673 | 801
674 | 802
675 | 803
676 | 804
677 | 805
678 | 806
679 | 807
680 | 808
681 | 809
682 | 810
683 | 811
684 | 812
685 | 813
686 | 814
687 | 815
688 | 816
689 | 817
690 | 818
691 | 819
692 | 820
693 | 821
694 | 822
695 | 823
696 | 824
697 | 825
698 | 826
699 | 827
700 | 828
701 | 829
702 | 830
703 | 831
704 | 832
705 | 833
706 | 834
707 | 835
708 | 836
709 | 837
710 | 838
711 | 839
712 | 840
713 | 841
714 | 842
715 | 843
716 | 844
717 | 845
718 | 846
719 | 847
720 | 848
721 | 849
722 | 850
723 | 851
724 | 852
725 | 853
726 | 854
727 | 855
728 | 856
729 | 857
730 | 858
731 | 859
732 | 860
733 | 861
734 | 862
735 | 863
736 | 864
737 | 865
738 | 866
739 | 867
740 | 868
741 | 869
742 | 870
743 | 871
744 | 872
745 | 873
746 | 874
747 | 875
748 | 876
749 | 877
750 | 878
751 | 879
752 | 880
753 | 881
754 | 882
755 | 883
756 | 884
757 | 885
758 | 886
759 | 887
760 | 888
761 | 889
762 | 890
763 | 891
764 | 892
765 | 893
766 | 894
767 | 895
768 | 896
769 | 897
770 | 898
771 | 899
772 | 900
773 | 901
774 | 902
775 | 903
776 | 904
777 | 905
778 | 906
779 | 907
780 | 908
781 | 909
782 | 910
783 | 911
784 | 912
785 | 913
786 | 914
787 | 915
788 | 916
789 | 917
790 | 918
791 | 919
792 | 920
793 | 921
794 | 922
795 | 923
796 | 924
797 | 925
798 | 926
799 | 927
800 | 928
801 | 929
802 | 930
803 | 931
804 | 932
805 | 933
806 | 934
807 | 935
808 | 936
809 | 937
810 | 938
811 | 939
812 | 940
813 | 941
814 | 942
815 | 943
816 | 944
817 | 945
818 | 946
819 | 947
820 | 948
821 | 949
822 | 950
823 | 951
824 | 952
825 | 953
826 | 954
827 | 955
828 | 956
829 | 957
830 | 958
831 | 959
832 | 960
833 | 961
834 | 962
835 | 963
836 | 964
837 | 965
838 | 966
839 | 967
840 | 968
841 | 969
842 | 970
843 | 971
844 | 972
845 | 973
846 | 974
847 | 975
848 | 976
849 | 977
850 | 978
851 | 979
852 | 980
853 | 981
854 | 982
855 | 983
856 | 984
857 | 985
858 | 986
859 | 987
860 | 988
861 | 989
862 | 990
863 | 991
864 | 992
865 | 993
866 | 994
867 | 995
868 | 996
869 | 997
870 | 998
871 | 999
872 | 1000
873 | 1001
874 | 1002
875 | 1003
876 | 1004
877 | 1005
878 | 1006
879 | 1007
880 | 1008
881 | 1009
882 | 1010
883 | 1011
884 | 1012
885 | 1013
886 | 1014
887 | 1015
888 | 1016
889 | 1017
890 | 1018
891 | 1019
892 | 1020
893 | 1021
894 | 1022
895 | 1023
896 | 1024
897 | 1025
898 | 1026
899 | 1027
900 | 1028
901 | 1029
902 | 1030
903 | 1031
904 | 1032
905 | 1033
906 | 1034
907 | 1035
908 | 1036
909 | 1037
910 | 1038
911 | 1039
912 | 1040
913 | 1041
914 | 1042
915 | 1043
916 | 1044
917 | 1045
918 | 1046
919 | 1047
920 | 1048
921 | 1049
922 | 1050
923 | 1051
924 | 1052
925 | 1053
926 | 1054
927 | 1055
928 | 1056
929 | 1057
930 | 1058
931 | 1059
932 | 1060
933 | 1061
934 | 1062
935 | 1063
936 | 1064
937 | 1065
938 | 1066
939 | 1067
940 | 1068
941 | 1069
942 | 1070
943 | 1071
944 | 1072
945 | 1073
946 | 1074
947 | 1075
948 | 1076
949 | 1077
950 | 1078
951 | 1079
952 | 1080
953 | 1081
954 | 1082
955 | 1083
956 | 1084
957 | 1085
958 | 1086
959 | 1087
960 | 1088
961 | 1089
962 | 1090
963 | 1091
964 | 1092
965 | 1093
966 | 1094
967 | 1095
968 | 1096
969 | 1097
970 | 1098
971 | 1099
972 | 1100
973 | 1101
974 | 1102
975 | 1103
976 | 1104
977 | 1105
978 | 1106
979 | 1107
980 | 1108
981 | 1109
982 | 1110
983 | 1111
984 | 1112
985 | 1113
986 | 1114
987 | 1115
988 | 1116
989 | 1117
990 | 1118
991 | 1119
992 | 1120
993 | 1121
994 | 1122
995 | 1123
996 | 1124
997 | 1125
998 | 1126
999 | 1127
1000 | 1128
1001 | 1129
1002 | 1130
1003 | 1131
1004 | 1132
1005 | 1133
1006 | 1134
1007 | 1135
1008 | 1136
1009 | 1137
1010 | 1138
1011 | 1139
1012 | 1140
1013 | 1141
1014 | 1142
1015 | 1143
1016 | 1144
1017 | 1145
1018 | 1146
1019 | 1147
1020 | 1148
1021 | 1149
1022 | 1150
1023 | 1151
1024 | 1152
1025 | 1153
1026 | 1154
1027 | 1155
1028 | 1156
1029 | 1157
1030 | 1158
1031 | 1159
1032 | 1160
1033 | 1161
1034 | 1162
1035 | 1163
1036 | 1164
1037 | 1165
1038 | 1166
1039 | 1167
1040 | 1168
1041 | 1169
1042 | 1170
1043 | 1171
1044 | 1172
1045 | 1173
1046 | 1174
1047 | 1175
1048 | 1176
1049 | 1177
1050 | 1178
1051 | 1179
1052 | 1180
1053 | 1181
1054 | 1182
1055 | 1183
1056 | 1184
1057 | 1185
1058 | 1186
1059 | 1187
1060 | 1188